REAGEN™

β-lactamase ELISA Kit

RND99082

Purpose

This kit allows for the determination of β-lactamase activity in milk.

Principle of the assay

The kit assay β-lactamase level in the sample，use Purified β-lactamase antibody to coat microtiter plate wells, make solid-phase antibody, then add β-lactamase to wells, Combined β-lactamase antibody which With HRP labeled, become antibody - antigen - enzyme-antibody complex, after washing Completely, Add TMB substrate solution, TMB substrate becomes blue color At HRP enzyme-catalyzed, reaction is terminated by the addition of a sulphuric acid solution and the color change is measured spectrophotometrically at a wavelength of 450 nm. The concentration of β-lactamase in the samples is then determined by comparing the O.D. of the samples to the standard curve.

Materials provided with the kit

| Materials provided with the kit | 48determinations | 96 determinations | Storage |
| --- | --- | --- | --- |
| User manual | 1 | 1 |  |
| Closure plate membrane | 2 | 2 |  |
| Sealed bags | 1 | 1 |  |
| Microelisa stripplate | 1 | 1 | 2-8℃ |
| Standard | 0.3ml×6bottle | 0.3ml×6bottle | 2-8℃ |
| HRP-Conjugate reagent | 5ml×1 bottle | 10ml×1 bottle | 2-8℃ |
| Sample diluent | 3ml×1 bottle | 6ml×1 bottle | 2-8℃ |
| Chromogen Solution A | 3ml×1 bottle | 6ml×1 bottle | 2-8℃ |
| Chromogen Solution B | 3ml×1 bottle | 6ml×1 bottle | 2-8℃ |
| Stop Solution | 3ml×1 bottle | 6ml×1 bottle | 2-8℃ |
| 20×Wash solution | 15ml×1bottle | 20ml×1bottle | 2-8℃ |

β-lactamase Standard：3.75、7.5、15、30、60、120U/L

Specimen requirements

- serum- coagulation at room temperature 10-20 mins，centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant, If precipitation appeared, Centrifugal again.

- plasma-use suited EDTA or citrate plasma as an anticoagulant,mix 10-20 mins ,centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant, If precipitation appeared, Centrifugal again.

- Urine-collect sue a sterile container, centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant, If precipitation appeared, Centrifugal again. The Operation of Hydrothorax and cerebrospinal fluid Reference to it.

- cell culture supernatant-detect secretory components, collect sue a sterile container, centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant,detect the composition of cells, Dilut cell suspension with PBS（PH7.2-7.4）, Cell concentration reached 1 million / ml, repeated freeze-thaw cycles, damage cells and release of intracellular components, centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant, If precipitation appeared, Centrifugal again.

- Tissue samples- After cutting samples, check the weight,add PBS（PH7.2-7.4）, Rapidly frozen with liquid nitrogen, maintain samples at 2-8℃ after melting,add PBS（PH7.4）, Homogenized by hand or Grinders, centrifugation 20-min at the speed of 2000-3000 r.p.m. remove supernatant.,

- Milk sample take appropriate amount of milk and 4000g centrifugal10min; Take 5 ml of free fat milk into a centrifuge tube, add 5 ml of ethyl acetate, vortex 1 minute and 4000g centrifugal 5min ,transfer 1 ml of ethyl acetate layer to another test tube, blow dry 60℃ under a stream of nitrogen ,and 0.01mol/l PBS buffer 2ml buffer  to dissolution.Note: Dilution factor: 2

- Extract as soon as possible after Specimen collection,and according to the relevant literature, and should be experiment as soon as possible after the extraction. If it can’t, specimen can be kept in -20 ℃ to preserve, Avoid repeated freeze-thaw cycles.

- Can’t detect the sample which contain NaN3, because NaN3 inhibits HRP active.

- Preparation of 1X Wash Solution

Mix 1 volume of the 20X Wash Solution with 19 volumes of distilled water.

Assay procedure

1.Add 50L of each Standards in duplicate into different wells ( Add standards to plate only in the order from low concentration to high concentration).

2.Add 50L of each sample in duplicate into different sample wells.

3.Add 100 L HRP-Conjugate to each well and mmix well by gently rocking the plate manually for 1 minute.

4.Incubate the plate for 60 minutes at 37℃.

5.Uncover Closure plate membrane, discard Liquid, dry by swing, add washing buffer to every well, still for 30s then drain, repeat 5 times, dry by pat.

6.Add Chromogen Solution A 50ul and Chromogen Solution B to each well, evade the light preservation for 15 min at 37℃

7.Add Stop Solution 50μl to each well, Stop the reaction(the blue color change to yellow color).

8.Take blank well as zero , Read absorbance at 450nm after Adding Stop Solution and within 15min.

Important notes

  - The kit takes out from the refrigeration environment should be balanced 15-30 minutes in the room temperature, ELISA plates coated if has not use up after opened, the plate should be stored in Sealed bag.

  - washing buffer will Crystallization separation, it can be heated the water helps dissolve when dilute . Washing does not affect the result.

  - add Sample with sampler Each step, And proofread its accuracy frequently, avoids the experimental error. add sample within 5 mins, if the number of sample is much , recommend to use Volley .

  - if the testing material content is excessively higher (The sample OD is bigger than the first standard well ),please dilute Sample (n-fold), Please diluente and multiplied by the dilution factor.（×n×5）.

  - Closure plate membrane only limits the disposable use, to avoid cross-contamination.

  - The substrate evade the light preservation.

  - Please according to use instruction strictly, The test result determination must take the microtiter plate reader as a standard.

  - All samples, washing buffer and each kind of reject should according to infective material process.

  - Do not mix reagents with those from other lots.

Calculate

Take the standard density as the horizontal, the OD value for the vertical ,draw the standard curve on graph paper, Find out the corresponding density according to the sample OD value by the Sample curve, multiplied by the dilution multiple, or calculate the straight line regression equation of the standard curve with the standard density and the OD value ,with the sample OD value in the equation, calculate the sample density, multiplied by the dilution factor, the result is the sample actual density.

This chartis for reference only

Assay range

3.75U/L-120U/L

Storage and validity

1．Storage：  2-8℃.

2．validity： six months.

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com    reagenllc@gmail.com

Web.:www.reagen.us