REAGEN™

Ochratoxin A ELISA Test Kit

RNM98008

### Product Description

REAGEN™ Ochratoxin A ELISA Test Kit is a competitive enzyme immunoassay for the quantitative analysis of Ochratoxin A in cereals, dried meat/fish, feed, milk,urine, serum, seed pepper, paprika, curry and nutmeg eng .The unique features of the kit are:

- High recovery (>80%),cost-effective extraction methods.

- High sensitivity (7.5 ng/g or ppb).

- High reproducibility.

- A quick ELISA assay (less than 1 hours regardless of number of samples).

### Procedure Overview

REAGEN™ Ochratoxin A ELISA Test Kit is based on a competitive colorimetric ELISA assay. The toxin of interest has been coated in the plate wells. During the analysis, sample is added along with the primary antibody specific for the target toxin. If the target is present in the sample, it will compete for the antibody, thereby preventing the antibody from binding to the toxin attached to the well. The second antibody, tagged with a peroxidase enzyme, targets the primary antibody that is complexed to the toxin coated on the plate wells. The resulting color intensity, after addition of substrate, has an inverse relationship with the target concentration in the sample.

### Kit Contents, Storage and Shelf Life

REAGEN™ Ochratoxin A ELISA Test Kit has the capacity for 96 determinations or testing of 42 samples in duplicate (assuming 12 wells for standards). Return any unused microwells to the foil bag and reseal them with the desiccant provided in the original package. Store the kit at 2-8C *. The shelf life is 12 months when the kit is properly stored.

| Kit Contents | Amount | Storage |
| --- | --- | --- |
| Ochratoxin A Coated Plate | 1x 96-well Plate (8 wells x 12 strips) | 2-8C |
| Ochratoxin A Standards: Negative control (white cap tube) 7.5ng/mL (yellow cap tube) 15ng/mL (orange cap tube) 30 ng/mL (pink cap tube) 60ng/mL (purple cap tube) 120 ng/mL (blue cap tube) | 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL 1.0 mL | 2-8C 2-8C |
| Ochratoxin A Antibody #1 | 12ml | 2-8C |
| HRP Conjugated Antibody #2 | 12mL |  |
| 20X Wash Solution | 30 mL |  |
| Stop Buffer | 14 mL |  |
| TMB Substrate | 10 mL |  |

* 	If you are not planning to use the kit for over 3 months, store Ochratoxin A  Antibody #1 and HRP-Conjugated Antibody #2 at -20C or in a freezer.

### Sensitivity

| Sample Type | Detection Limit (ng/g or ppb) |
| --- | --- |
| Dried Meat/Fish, Cereal, Feed, Seed | 7.5 |

### Specificity

| Analytes | Cross-Reactivity (%) |
| --- | --- |
| Ochratoxin A | 100 |
| Ochratoxin B | 9.3 |
| Ochratoxin C | 46 |
| Ochratoxin α | <0.2 |

### Required Materials Not Provided With the Kit

- Microtiter plate reader (450 nm)

- Incubator

- Tissue Mixer (e.g. Omni TissueMaster Homogenizer)

- Vortex mixer (e.g. Gneie Vortex mixer from VWR)

- 10, 20, 100 and 1000 L pipettes

- Multi-channel pipette: 50-300 L (Optional)

- Methanol

- 10 mM PBS buffer (1X PBS): 0.24 g KH2PO4 + 1.44 g Na2HPO4 + 8 g NaCl, + 0.2 g KCl, adjust pH to 7.4 with NaOH, fill up to 1000 mL with distilled water.

### Warnings and Precautions

- The standards contain Ochratoxin A . Handle with particular care.

- Do not use the kit past the expiration date.

- Do not intermix reagents from different kits or lots except for components with the same part No’s within their expiration dates.

- Try to maintain a laboratory temperature of 20°–25°C (68°–77°F). Avoid running assays under or near air vents, as this may cause excessive cooling, heating and/or evaporation. Also, do not run assays in direct sunlight, as this may cause excessive heat and evaporation. Cold bench tops should be avoided by placing several layers of paper towel or some other insulation material under the assay plates during incubation.

- Make sure you are using only distilled or deionized water since water quality is very important.

- When pipetting samples or reagents into an empty microtiter plate, place the pipette tips in the lower corner of the well, making contact with the plastic.

- Incubations of assay plates should be timed as precisely as possible. Be consistent when adding standards to the assay plate. Add your standards first and then your samples.

- Add standards to plate only in the order from low concentration to high concentration as this will minimize the risk of compromising the standard curve.

- Always refrigerate plates in sealed bags with a desiccant to maintain stability. Prevent condensation from forming on plates by allowing them equilibrate to room temperature (20 – 25C / 68 – 77F) while in the packaging.

·Reagent Preparation

- Preparation of 1X Wash Solution

Mix 1 volume of 20X Wash Buffer concentrate with 19 volumes of distilled water.

- Preparation of 70% Methanol

In 70: the proportion of 30 preparation of anhydrous alcohol and distilled water, for example: take 70 ml anhydrous methanol into 30 ml of distilled water, make up into 100 ml of 70% methanol, as required, may be enlarged or reduced in proportion.

- Preparation of 35% Methanol

In 35: the proportion of 65 preparation of anhydrous alcohol and distilled water, for example: 35 ml, anhydrous methanol into 65 ml of distilled water and made into 100 ml of 35% methanol, as required, may be enlarged or reduced in proportion

·SAMPLE PREPARATION

### Dried Meat/fish/cereal/feed/seed

    - Grind and mix a representative sample(according to accepted sample techniques).

    - Weight out 5 g of the ground sample and place into a suitable container .

    - Add 25ml 70% methanol and shake for 20 minutes with a shaker or multi-tube vortexer.

    - Centrifuger sample for 10 minutes at 4000 rpm.

    - Dilute 1 ml of the obtained supernatant with 1 ml of distilled or deionized water.

    - Use 50L of the diluted supernatant per well in the test.

.

### ELISA Testing Protocol

Label the individual strips that will be used and aliquot reagents as the following example:

| Component | Volume per Reaction | 24 Reactions |
| --- | --- | --- |
| Ochratoxin A Antibody #1 | 100L | 2.4mL |
| 1X HRP-Conjugated Antibody #2 | 100 L | 2.4 mL |
| 1X Wash Solution | 1.0 mL | 24 mL |
| Stop Buffer | 100 L | 2.4 mL |
| TMB Substrate | 100 L | 2.4 mL |

    - Add 50Lof each Ochratoxin A Standards in duplicate into different wells ( Add standards to plate only in the order from low concentration to high concentration).

    - Add 50L of each sample in duplicate into different sample wells.

    - Add 100 L Antibody #1 to each well and mmix well by gently rocking the plate manually for 1 minute.

    - Incubate the plate for 30 minutes at room temperature (20 – 25C / 68 – 77F).

    - Wash the plate 3 times with 250L of 1X Wash Solution.After the last wash, invert the plate and gently tap the plate dry on paper towels(Perform the next step immediately after plate washings.Do not allow the plate to air dry between working steps).

    - Add 100 L of 1X Antibody #2 to each well ,Incubate the plate for 30 minutes at room temperature (20 – 25C / 68 – 77F).

    - Wash the plate 3 times with 250 L of 1X Wash Solution. After the last wash, invert the plate and gently tap the plate dry on paper towels ( Perform the next step immediately after plate washings. Do not allow the plate to air dry between working steps).

    - Add 100L of TMB substrate. Time the reaction immediately after adding the substrate. Mix the solution by gently rocking the plate manually for 1 minute while incubating. ( Do not put any substrate back to the original container to avoid any potential contamination. Any substrate solution exhibiting coloration is indicative of deterioration and should be discarded. Covering the microtiter plate while incubating is recommended).

    - After incubation for 15 minutes in room temperature, add 100 L of Stop Buffer to stop the enzyme reaction.

    - Read the plate as soon as possible following the addition of Stop Buffer on a plate reader with 450 nm wavelength ( Before reading, use a lint-free wipe on the bottom of the plate to ensure no moisture or fingerprints interfere with the readings).

### Ochratoxin A Concentration Calculations

A standard curve can be constructed by plotting the mean relative absorbance (%) obtained from each reference standard against its concentration in ng/mL on a logarithmic curve.

Relative absorbance (%) =

REAGEN LLC

Add.: 102CommerceDr.Unit8,Moorestown,NJ08057

Tel.:856-727-0250         FAX.:856-727-0251

E-mail:reagenkits@gmail.com  reagenllc@gmail.com

Web.: www.reagen.us